## Slide 1: Dr.Priya.K.Dhas
INSTRUMENTS
Colorimeter
Spectrophotometer

## Slide 2: Objectives
Colorimetry
Principle
Application
Components and its uses
Laws
Steps to prepare a solution for measurement

## Slide 3: Colorimetry- Introduction
Techniques frequently used in biochemical investigations.
Quantitative estimation of coloured substances.

## Slide 4
The difference in color results in the
difference in the absorption of light, which is
made use of here in this technique called
colorimetry.

## Slide 5: Application
Estimation of biochemical compounds
In biological fliuds – plasma, serum CSF, blood , urine
Glucose, urea, creatinine

## Slide 6: Principle
Light passes through coloured solution
Specific wavelength of light is absorbed
Based on colour intensity

## Slide 7: Principle
passes through coloured solution
Specific wavelength of light is absorbed
Colour intensity
Colour intensity directly proportional to the concentration of the substance

## Slide 8: Components of colorimeter
A lamp(light source)
Adjustable slit
Condensing lense
Filter
Cuvette (sample holder)
Photodetector
Galvanometer

## Slide 12: Beer Lamberts Law - Basis of colorimetric techniques
Beer’s law – the amount of light absorbed by a coloured solution is directly proportional to the concentration of the substance in the solution(light absorbing material)
    A α C
Lambert’s law- the amount of light absorbed by a coloured solution is directly proportional to the depth//length through which the light passes.
  A α L
  Where A is light absorbed and C is concentration of the solution.
  Where L = length of light path Lamberts law

## Slide 13
By combining above equations, we get
A α Cx L
A= Kx Cx L
Where K= constant for colored solution

## Slide 14: To find concentration of test / unknown substance
A1 –absorbance of test solution
C1 – concentration of test solution
A2 –absorbance of standard solution
C2 – concentration of standard solution

## Slide 15
A1 = Kx C1x L
A2 = Kx C2x L
A1 = C1
A2 = C2
C1 = A1 xC2
A2
Concentration of test solution
= Absorbance of test x concentration of std
Absorbance of standard
Optical density (OD) = log incident light
transmitted light
O.D = 2- log % T

## Slide 16: Preparation of solution for measurement
Three solutions
Blank (B) – all reagents but none of the
substance
Standard (S) – known quantity of substance
Test (T) - concentration to be analysed
Note :
  avoid cloudiness, turbidity, bubbles
  Solution –optically clear(photoelectric cell more sensitive for small changes in transmission)

## Slide 17: Spectrophotometer
Differs from colorimeter
  by covering the ultraviolet region (200-400nm) of the electromagnetic spectrum.
  covers both uv and visible range (234nm- 610nm)
  Sensitivity high
  Light – prism or diffraction grating
  Quartz cells

## Slide 18: Spectrophotometer

## Slide 19
Thank you